## E Calc
Example Energy saving Calculator
| Figures could be amended accordingly | 2 Foot |  | 3 Foot |  | 4 Foot |  | 5 Foot |  | 6 Foot
Energy Cost (A) / Capital Cost (B) / Labour Cost (C )
Ref | ENERGY Calculation (A) | 6BT2 2ft LED Batten | Twin Fluorscent 2ft + Diff | 6BT3 3ft LED Batten | Twin Fluorscent 3ft + Diff | 6BT4 4ft LED Batten | Twin Fluorscent 4ft + Diff | 6BT5 5ft LED Batten | Twin Fluorscent 5ft + diff | 6BT6 6ft LED Batten | Twin Fluorscent 6ft + Diff
A1 | No of Fittings | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
A2 | Individual Wattage W | 21 | 36 | 31 | 60 | 42 | 72 | 52 | 116 | 62 | 140
A3 | Annual Hourly Usage Hr | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000
A4 | Total Annual Consumption A1 x A2 x A3/1000 KIloWatt | 1680 | 2880 | 2480 | 4800 | 3360 | 5760 | 4160 | 9280 | 4960 | 11200
A5 | Annual Energy Saving Kilowatt | 1200 |  | 2320 |  | 2400 |  | 5120 |  | 6240
A6 | Energy Cost £ Kilowatt/Hour | 0.12 |  | 0.12 |  | 0.12 |  | 0.12 |  | 0.12
A7 | Total Annual Energy Savings £ / Annum A5 x A6 | 144 |  | 278.4 |  | 288 |  | 614.4 |  | 748.8
Capital Cost (B)
B1 | Cost of individual Fitting (example) £ | 19.51 | 18 | 28.36 | 27 | 25 | 32 | 30 | 28 | 35 | 30
B2 | Total Purchase Cost A1 x B1(net) £ | 30.2 |  | 27.2 |  | -140 |  | 40 |  | 100
B3 | Expected Period of Use No of Years | 5 |  | 5 |  | 5 |  | 5 |  | 5
B5 | Total Savings / Cost over Period of Use (B3xA7) - B2 £ | 689.8 |  | 1364.8 |  | 1580 |  | 3032 |  | 3644
Labour Cost (C )
C1 | Installation Cost ( Estimate 1 off) £ | 1000 |  | 1000 |  | 1000 |  | 1000 |  | 1000
C2 | Annual Maintenance Cost Estimate ( Change of Lamps ) £ |  | 200 |  | 200 |  | 200 |  | 200 |  | 200
C3 | Maintenance Costs over period of use C2 x B3 £ | 1000 |  | 1000 |  | 1000 |  | 1000 |  | 1000
C4 | Net Labour Savings / Cost £ | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Total Savings / Costs B5 + C4 | 689.8 |  | 1364.8 |  | 1580 |  | 3032 |  | 3644
| PAY Back Period ( B2 + C4 )/ A7 No of Years | 0.20972 | Years | 0.097701 | Years | -0.48611 | Years | 0.065104 | Years | 0.13355 | Years
The above calculations are Example only. Deltech shall not be under any liability for the above data.